AGASTAT Timing Relay

STARX012XSABXF

120VAC/DC

TIME 10s

Contacts

345VA 120VAC

470VA 250VAC

1/3HP 120VAC

½ HP 250VAC / 10A 120 0r 250VAC

Same Polarity per Pole

.6lb