ASCO

CAT NO. PB10A & TG10A11  Base Sold as set

AMB TEMP 50 C

Electrical rating for limit controls & Pressure operated switches

5 A RES 		125/250 VAC

1/8 HP			125 VAC

¼ HP 			250 VAC

½ A  RES		125 VDC

¼ A  RES		250 VDC

Electrical rating for indust. Controls & Temp. indicating & regulating equipment

15 A RES		125 VAC

10 A RES		250 VAC

1/8 HP			125 VAC

¼ HP			250 VAC

½ A RES		125 VDC

¼ A RES		250 VDC

Note we have 2

2lb