Agastat Electropneumatic Timing Relay

Model 7022AKI2

Coil 120V60Hz

Time 1 to 300 sec

Contact Rating

120/240VAC 	1/4HP

120/240VAC	10A

600VAC 	5A

30VDC 	15A

Agastat 7000.pdf

2lb

Note we have 3