Allen Bradley 1492-WG6 Grounding Block

Voltage Rating 600V AC/DC

Maximum Current 30A

Wire Range #30 - #12 AWG (0.05-4mm)

Wire Strip Length 0.38” (9.7mm)

Recommended Tightening Torque 3-7lb-in

Operating Temperature –40° C to +85° C

1492 Terminal Block.pdf

1oz

Note we have 3