Ashcroft

The comprehensive line of Ashcroft® diaphragm seals will meet a wide variety of application or installation requirements. Over 30,000 variations are possible with the types, connections and materials available.

- A Viton O-ring, compatible with all standard fill fluids, and a Teflon back-up ring provide a seal between the diaphragm capsule and the top housing.

- The diaphragm is Teflon coated to provide an integral gasket, thus assuring a leak-tight connection between the diaphragm and the bottom housing.

- Top housing and pressure instrument are removable.

- Continuous-duty design will prevent loss of process fluid if pressure instrument is removed or fails.

- The top housing and diaphragm capsule are interchangeable with all Ashcroft bottom housings.

- A fill/bleed connection is standard, which permits filling the seal and instrument simultaneously after evacuation and allows the fill to flow into the completed unit.

Type 100

Diaphragm Material 31688

C1215

Note: We Have 3

4lb