Cash Acme Regulator

Type FR-10

Size – ½

Set – 150

Range – 100 – 250

Max Inlet Pressure – 250psi

SER. NO. 13894 AE

10lb