Cash Acme Regulator

Type FR-10

Size – 34

Set – 150psi

Range100 – 250

Max inlet Pressure - 250lb

SER. NO. 13895 AD

15lb