Cutler Hammer HMCP Motor circuit protector

Series C

50 Amps  3 Poles

600VAC – 250VDC

Cat HMCP050K2

Style 6601C86G08

60/75 °C Wire

CU/AL (UL)

CU Only (CSA)

4lb

Note We have 3