Fireye Infrared Scanner

Type 48PT1

Model 9007

Approximate Volts across Cell 125 VDC

Approximate Resistance of Cell 1.5 Meg. Ohms

Ambient Temperature Limits 140°F / 60°C –40°

The 48PT1 lead Sulfide infrared Scanner contains a high impedance detector and is designed to be used on P-Series controls

2lb

Fireye 48PT1.pdf