Fireye Flame Monitor w/ Programmer Type EP170 – Flame Amplifier Module type EUVS4

Type EB700

Serial Number 0006 0157

ENG Code 04

All ratings 120 v 50/60 Hz Except as noted

All wiring must be NEC class1

Total connected load not to exceed 2000 VA

Max ambient Temp 125°

EB700.pdf

EP170.pdf

EUVS4.pdf

6lb