Fireye Flame Safeguard

Type 25RU8

Model 4580

Supply Voltage

120 Volts (min. 102V, max 132v) at 50/60 Hertz

Volt – Ampere Rating

Power Consumption – Operating 30 va (60 va peak)

Power Consumption – Standby 15 va

Maximum connected load 2000 va

Maximum operating temp 125F

http://www.fireye.com/GetFile/2EE6E96961A9FD5280256BFA004DAB38/C60.pdf

12lb

We have 4

Click Here For PDF