Fisher Control Regulator

Type 95-HD – 14

SER. NO. 9-01

Pressure Units – PSIG

Max Outlet – 250 @ 410 Degrees F

Spring Range 15 – 30

Trim Material – SST

Max allowable Outlet Pressure  - 250

22lb