Honeywell Combination Fan & Limit Control

5in Insertion – ¾ in Diameter

Adjustable Fan Differential

With Manual Fan Switch

Flush Mounting

Limit Stop set at 200 F

Limit adjustment 100 – 250 F

2lb