Honeywell Q181A  1007 Auxiliary Potentiometer

Controls one or two Auxiliary motors in unison or in sequence from master motor.

For use with series 90 Modutrol Motors.

Throttling Range: Adjustable from 40 to 160 degrees on each potentiometer.

Starting Point of Controlled motors Adjustable from 0 to 120 degrees of master motor travel. Sum of values of starting point and throttling range should not exceed 160 degrees

Dimensions 3-3/16” high – 3-1/4” wide – 3-3/8” deep

1lb

We have 2: