McDonnell & Miller

ITT Industries

Model 750-MT-120

Low Water Cut off

Electrical Rating

Motor Voltage		Full Load	Locked Rotor

115 VAC		7.5 amp	43.2 amp

230 VAC		3.75 amp	21.6 amp

Pilot Duty 125 VA @ 120 VAC or 240 VAC 50/60HZ

3lb