McDonnell & Miller

Series 64 Low Water Cut Off

For residential, commercial and Industrial boiler applications of any steaming capacity

Heavy Duty

Adjustable BX Outlet for easy installation

Dual precision switches for dependable operation of the low water cutoff and alarm or electric water feeder

Packless Bellows

Optional manual reset available

1” NPT equalizing pipes required

Maximum boiler pressure 50 psi (3.5kg/cm³)

Use with TC-4 on hot water systems

12LB