Mercoid Control DSF221-2 R8S

SERIAL 4D330039

120 V AC 0.3 AMP – DC 0.15 AMP

240 V AC 0.15 AMP – DC 0.07 AMP

The PDF is for DS but not for DSF I did not find any information for this particular number

4lb