Mercoid DSW 7283-804-24K

Series D-80

316 Stainless Steel

Bourdon Tube Pressure Switch

Operating Range 10 to 150 PSIG

Adjustment Differential 11 PSIG

Fixed Differential (2) SPDT 2.5 PSIG

6lb