Phoenix Grounding Terminal Block USLKG 5

Rated Surge Voltage 6 kV

Contamination class 3

Surge Voltage Category III

Insulating Material Group 1

Connection in acc. with standard IEC/DIN VDE

Phoenix .pdf

1oz

Note we have 1