Phoenix Klemmen Terminal Block

2812018 UK 4-T

Basic terminal block with screw connection, for component and fuse connectors, cross section: 0.2 - 4 mm², AWG: 28 - 12, width: 6.2 mm, color: gray

2802316 ST-BE

Component plug, to connect 2-pos. components into the basic terminal block, height: 19 mm, color: Gray

Click Here For PDF