Skinner Electric Valve

Valve # 4245OCT

Code AE9

Volt 120 – 60hz

PSI 150

Watts 10

Orifice 3/64 – 1/16

1lb