Square D Thermal Magnetic Circuit Breaker

15 AMP @ 40 Degree C

CAT  NO. FAL34015 series 2

Type FAL

480 VAC, 250 VDC

for 1 Phase or 250 VDC

Interrupting Rating

RMS Symmetrical Amps

UL & NEMA 60 HZ

VOLTS		AMPS

240			25K

480			18K

IEC 1557-1 (P1) 50 HZ

Square D Certified

VOLTS		AMPS

380/220		18K

415/240		18K

5lb