Square D Thermal Magnetic Circuit Breaker

50 AMP @ 40 Degree C

CAT  NO. FAL32050 series 2

Type FAL

240 VAC 250 VDC

Interrupting Rating

RMS Symmetrical Amps

UL /CAS/NEMA 60 HZ

VOLTS		AIR

240AC			10kA

250DC			5kA

5lb