Taco Cartridge Circulator Pump

Model 0010-F3

1/8 HP

1.10 AMP

60 HZ

115 Volts

3250 RPM

125 PSI MAX Pressure

230 F Degree MAX Water Temp

14 lb