Vogt series 373

Two inch Valve

Repair Parts

(1) Stem

(2) Packing Gland

(13) Split Packing 5/8 X 1-1/8

(6) Hex nuts

(2) 3/8 X 2-1/4 Studs

(2) Gasket 2-3/16 X 3

(2) Packing 5/8 X 1-1/8

Total Parts 2lb