Vogt series 373

Three inch Valve

Repair Parts

(1) Stem

(1) Packing Gland

(6) Split Packing 3/4 x 1-1/4

(4) Hex nuts

(2) 3/8 X 2-5/8 Studs

(1) Gasket 2-15/16 X 3-11/16

(2) Packing 3/4 x 1-1/4

Total Parts 3lb