Webster V002C-4D0

V- series

High Capacity Fuel and Transfer Pump

Single Stage units: Up to 180 GPH with #2 oil, to 270 GPH with 1000 SSU oil

VO2 Rated pressure 300 psi – factory set at 300 psi

Rotation

Clockwise

Porting:

1/4” NPTF gauge/optional nozzle port, nozzle port

3/8” NPTF return port, 2 optional inlets

1/2” NPTF inlet to cover

Shaft:

DO Style – 7/16” X 1.88”

Seal

Double lip type

Mounting

Hub or two-bolt flange

12lb